## Slide 1
Average cost of electricity: $0.25/kWh

## Slide 2: NREL System Advisor Model (SAM)
Source: www.NREL.gov

## Slide 5: Disadvantages of Renewables
Intermittent
Non-Dispatchable

## Slide 6: Design of Optimum New Generation Units: Integrating Renewables
Abhilash Kantamneni
Kalin Lee

## Slide 7: Huskyville
Industrial
Residential 2
Residential1
Commercial
Residential3
Peak Load = 3.02 kW
Peak Load = 4.08 kW
Peak Load = 1.61 kW
Peak Load = 35.1 kW
Peak Load = 8.82 MW
Load Profile Source: CAISO

## Slide 8: Huskyville
700 x Residence1
700 x Residence2
700 x Residence3
100 x Commercial
2 x Industrial
Peak Load = 27.0 MW

## Slide 9: Step 1: Identify Energy Sources
Coal 39%
Natural Gas 27%
Nuclear 19%
Hydropower 7%
Biomass 1.48%
Geothermal 0.41%
Solar 0.23%
Wind 4.13%
Petroleum 1%
Other Gases < 1%
Source: www.EIA.gov

## Slide 10: Step 2: Eliminate by system unavailability
Source: Handbook of Electric Power Calculations
Nuclear (Too big)

## Slide 11: Step 2: Eliminate by fuel unavailability
Source: www.trailstotrout.com
Hydropower (No local rivers)

## Slide 12: Step 2: Eliminate by fuel unavailability
Source: www.NREL.gov
Geothermal (Low Resource Potential)

## Slide 13: Step 2: Eliminate by functional unavailability
Source: www.NREL.gov
Biomass (High Capital Costs)

## Slide 14: Step 2: Eliminate by system, fuel or functional unavailability
Coal
Natural Gas
Solar
Wind
Source: www.EIA.gov

## Slide 15: Step 3: Consider Load
Chart: Huskyville Load Profiles

## Slide 16: Step 3: Consider Load
Source: Handbook of Electricity Calculations

## Slide 17: Step 3: Consider Load
Source: www.EIA.gov

## Slide 18: Step 3: Consider Load
Chart: Huskyville Load Profiles

## Slide 19: Step 4: Pick Optimum Generation Units
Chart: Huskyville Load Profiles
Coal: Baseload
Gas: Peaker

## Slide 20: Renewables: Net Metering
Excess Generation
Excess Consumption
$$
$$

## Slide 21
Excess Consumption
Excess Consumption
Excess Generation

## Slide 22
Excess Consumption
Excess Consumption
Excess Generation

## Slide 23: Huskyville
Industrial
Residential 2
Residential1
Commercial
Residential3
Load Profile Source: CAISO, NE-ISO and MISO

## Slide 25
Excess Consumption
Excess Consumption
Excess Generation