## Slide 1: Unit Commitment and Economic Load Dispatch in a Microgrid with Integrated Storage and Renewables
Abhilash Kantamneni
Kalin Lee
EE 5230: Power System Operations Fall 2014
Notes: 20-25 slides
20 minutes
+2 minutes Q&A
Submit pptx day before

## Slide 2: Background 1
What is Unit Commitment
  The selection of generator units that should remain committed at each time step for minimum operating cost
  Mathematical Model
  Other relevant info

## Slide 3: Background 2
Some approaches to solve UC
Priority List
Lagrangian Relaxation
Mixed Integer (Linear) Programming
Dynamic Programming

## Slide 4: Background 3
Some approaches to solve UC
Priority List
  Exhaustive enumeration of all unit combinations
  Advantages
    Precise Solution (most accurate)
  Disadvantages
    Time-consuming (slowest)
    Start-up cost and ramp rate constraints not considered

## Slide 5: Background 4
Some approaches to solve UC
Lagrangian Relaxation
  Solves UC by relaxing (temporarily ignoring) the coupling constraints
  Advantages
    Simplifies problem by relaxing constraints
    Quantitatively measures the solution quality (The cost of the dual function is a lower bound on the cost of the primal problem)
  Disadvantages
    Duality gap small, but not accurate
    The dual solution may be infeasible
    Ramping constraints increase complexity

## Slide 6: Background 5
Some approaches to solve UC
MIP, DP
  Advantages
  Disadvantages
    Time-consuming; exponential with respect to system size

## Slide 7: Modeling, Simulation, Analysis 1
Approaches
  Other Method
  Lagrangian Relaxation

## Slide 8: Modeling, Simulation, Analysis 2
Other: Mathematical Model
  Objective Functions
  Constraints
Solution Method
  Algorithm/flow chart/ whatever you have

## Slide 9: Modeling, Simulation, Analysis 3
Lagrangian Relaxation: Mathematical Model
  Solves UC by relaxing (temporarily ignoring) the coupling constraints
  Solving the problem as if the constraints did not exist, but then including a penalty factor
  L = CF + λ Constraints
Solution Method
  Primal problem: J* = min L (upper bound)
  Dual problem: q*(λ) = max(λ) q(λ) (lower bound)
  Measure the closeness with the relative duality gap (J*-q*)/q*

## Slide 10: System you are solving 1
Description of the system
  Generators: 4
  Cost Function = Cost(1) + Cost(2) + Cost(3) + …
    Quadratic (Cost(i) = a2 P(i) + b P(i) + c)
  Figure

## Slide 11: System you are solving 2
Description of the system
  How many gens
  Cost functions
  May be a picture showing connections??

## Slide 12: Progress up to now 1
Case studies
  Have developed a Lagrangian Relaxation method in Matlab
  Validated for example 3 bus examples
  Works for n-bus problems, but still has bugs
Case studies you are planning to work on
  May consider variable energy generation
  Will explore transmission constraints, but difficult to implement in LR

## Slide 13: Progress up to now 2
Case studies- if you have
Case studies you are planning to work on

## Slide 14: Progress up to now 3
Case studies- if you have
Case studies you are planning to work on

## Slide 15: Progress up to now 4
Case studies- if you have
Case studies you are planning to work on

## Slide 16: Recent practices 1
UC solved primarily by LR and LP in 1999
PJM uses MIP in its day-ahead and real-time markets since 2004 and 2006
CAISO implemented MIP in 2009

## Slide 17: Recent practices 2
In XYZ-1 ISO
  How they solve ELD
  What additional things you need in your model to incorporate this
In XYZ-2 ISO
  Statement-1
  Staement-2

## Slide 18: Recent practices 3
In XYZ-1 ISO
  How they solve ELD
  What additional things you need in your model to incorporate this
In XYZ-2 ISO
  Statement-1
  Staement-2

## Slide 19: Conclusions 1

## Slide 20: Conclusions 2

## Slide 21: References 1

## Slide 22: References 2