## Slide 1
Average cost of electricity: $0.25/kWh

## Slide 2: NREL System Advisor Model (SAM)
Source: www.NREL.gov

## Slide 4: Disadvantages of Renewables
Intermittent
Non-Dispatchable

## Slide 5: Design of Optimum New Generation Units: Integrating Renewables
Abhilash Kantamneni
Kalin Lee

## Slide 6: Huskyville
Industrial
Residential 2
Residential1
Commercial
Residential3
Peak Load = 3.02 kW
Peak Load = 4.08 kW
Peak Load = 1.61 kW
Peak Load = 35.1 kW
Peak Load = 8.82 MW
Load Profile Source: CAISO

## Slide 7: Huskyville
700 x Residence1
700 x Residence2
700 x Residence3
100 x Commercial
2 x Industrial
Average Daily Peak Load = 27.0 MW

## Slide 8: Generation of Electric Power: 8 Steps
Handbook of Electric Power Calculations, Beatty

## Slide 9: Step 1: Identify Energy Sources
Coal 39%
Natural Gas 27%
Nuclear 19%
Hydropower 7%
Biomass 1.48%
Geothermal 0.41%
Solar 0.23%
Wind 4.13%
Petroleum 1%
Other Gases < 1%
Source: www.EIA.gov

## Slide 10: Step 2: Eliminate by system unavailability
Source: Handbook of Electric Power Calculations
Nuclear (Too big)

## Slide 11: Step 2: Eliminate by fuel unavailability
Source: www.trailstotrout.com
Hydropower (No local rivers)

## Slide 12: Step 2: Eliminate by fuel unavailability
Source: www.NREL.gov
Geothermal (Low Resource Potential)

## Slide 13: Step 2: Eliminate by functional unavailability
Source: www.NREL.gov
Biomass (High Capital Costs)

## Slide 14: Step 2: Eliminate by system, fuel or functional unavailability
Coal
Natural Gas
Solar
Wind
Source: www.EIA.gov

## Slide 15: Step 3: Consider Load

## Slide 16: Step 3: Consider Load

## Slide 17: Step 3: Consider Load
Source: Handbook of Electricity Calculations

## Slide 18: Step 4: Pick Generation Units
Chart: Huskyville Load Profiles
Coal: Baseload
Gas: Peaker

## Slide 19: Huskyville
Industrial
Residential 2
Residential1
Commercial
Residential3
Load Profile Source: CAISO, NE-ISO and MISO
Coal
Gas
Solar
Wind

## Slide 20: Renewables: Net Metering
Excess Generation
Excess Consumption
$$
$$

## Slide 21
Excess Consumption
Excess Consumption
Excess Generation

## Slide 22
Excess Consumption
Excess Consumption
Excess Generation

## Slide 23: Step 5: Calculate Fuel Costs
Source: Handbook of Electric Power Calculations
Fuel Costs: Piecewise Linear Cost Function

## Slide 24: Step 4: Fuel Costs
Source: www.EIA.gov

## Slide 25: Step 6: Calculate Operating Costs
Gen | Pmin | Pmax | C0 | C1 | C2 | C3
Coal | 18 | 20 | 12.5 | 17.5 | 21.5 | 27.5
Gas | 0 | 50 | 0.25 | 25 | 42.5 | 70
Solar | ? | ? | 0 | 0 | 0 | 0
Wind | ? | ? | 0 | 0 | 0 | 0

## Slide 26: Integrating Renewables: Case Studies
10% Net Metering
50% Net Metering
100% Net Metering

## Slide 27: Step 6: Calculate Operating Costs
Chart: Huskyville Renweable Generation Potential
Source: NSRDB and ERCOT

## Slide 28: Step 6: Calculate Operating Costs
Gen | Pmin | Pmax | C0 | C1 | C2 | C3
Coal | 18 | 20 | 12.5 | 17.5 | 21.5 | 27.5
Gas | 0 | 50 | 0.25 | 25 | 42.5 | 70
Solar | 0 | 0.6 | 0 | 0 | 0 | 0
Wind | 0 | 0.8 | 0 | 0 | 0 | 0
Example August 03, 2:00 pm for 10% Renewable

## Slide 29: 10% Renewables
Cost per MWh is $164.01
Energy Generated
  1.1 % Solar
  1.5 % Wind
  21.0 % Gas
  76.4 %Coal
Chart: 10% Renewables

## Slide 30: 50% Renewables
Cost per MWh is $111.01
Energy Generated
  5.2 % Solar
  6.8 % Wind
  11.7 % Gas
  76.3 %Coal
Chart: 50% Renewables

## Slide 31: 100% Renewables
Cost per MWh is $126.37
Energy Generated
  10.7 % Solar
  13.6 % Wind
  17.5 % Gas
  58.2 %Coal
Chart: 100% Renewables

## Slide 32
Source: CAISO

## Slide 33: 100% Renewables + Gen. Curtailing
Cost per MWh is $86.02
Energy Generated
  8.1 %Solar
  9.5 %Wind
  7.5 % Gas
  74.9 %Coal
Chart: 100% Renewables With Gen Curtailing

## Slide 34: Future Work
Industrial
Residential 2
Residential1
Commercial
Residential3
Load Profile Source: CAISO, NE-ISO and MISO
Coal
Gas
Solar
Wind

## Slide 36
Storage: Load and Generation Shifting
Credit: Scientific American

## Slide 37: Additional Steps:
Calculate LCOE
  Overnight capital costs
  O and M costs
  Annual fixed capital costs
Interconnection
  Non coincident loads
Spinning Reserve Margins
Planning Capacity Expansion

## Slide 38: Further Reading
EIA Energy Outlook 2014
Handbook of Electric Power Calculations: Generation of Electric Power, Hesham Shalaan
Distributed Generation, Planning and Evaluation, Willis and Scott
Distributed Generation, Borbley and Kreider
Securing the Smart Grid, Flick and Morehouse

## Slide 39: Thank You